## elements
Source Class | Source Element | Source Definition | Mapping | Target Class | Target Element | Target Type | Cardinality | Extension? | Target Definition | Attribute | Abstract | Inline | Reference | Substitution Group Head | Augmentation of Type | Comments
[5 empty] | GeneralDeviceMessage | GeneralDeviceMessageType | 1..1 | yes | A set of messages to provide data collected by a general device during an encounter. | [6 empty] | message root element
|  |  |  | GeneralDeviceMessageType |  |  |  | yes | A data type for a set of messages to provide data collected by a general device during an encounter.
|  |  | 1 | GeneralDeviceMessageType | MessageContentHeader | cbrn:ContentHeaderType | 1, 1 | yes | Common header information for a message content. | FALSE | FALSE | TRUE | FALSE | none |  | Not further detailed in this spreadsheet.
|  |  | 2 | GeneralDeviceMessageType | MessageContent | n25gd:MessageContentType | 1, 1 | yes | The data that provides the content (payload) of a message. | FALSE | FALSE | TRUE | FALSE | none
GeneralInstrumentType | ReadingType |  |  | MessageContentType |  |  |  | yes | A data type for the content of a message.
| ScanIdentifierData | [14 empty] | Not needed since the elements are provided elsewhere in the message.
| InstrumentData |  | 1 | MessageContentType | DeviceData | n25gd:GeneralDeviceDataType | 0, many | yes | Provides data collected from a device other than a radiation detection device during a detection event. | FALSE | FALSE | TRUE | FALSE | none
ReadingType |  | enumGIReadingType | [13 empty] | Not needed. Provided by detectionEventKindCode
ScanIdentifierData
ScanIdentifierData | ScannedItemID | Container Number, Vehicle Identifier etc | [13 empty] | included in cbrn:MeasuredItemType
ScanIdentifierData | ScannedItemIDType | Identifer Type (Container, VIN, License plate number etc) | [13 empty] | included in cbrn:MeasuredItemType
ScanIdentifierData | ScanItemType | [14 empty] | included in cbrn:MeasuredItemType
ScanIdentifierData | TraversalID | The unique ID given for this traversal. If this is unknown assign a -1 value | [13 empty] | Provided in GeneralDeviceDataType
ScanIdentifierData | ScanID | The unique ID for this scan. | [13 empty] | Provided in GeneralDeviceDataType
ScanIdentifierData | MessageComments | to identify any supporrting details about the message like message subtype , ICD type etc | [13 empty] | Provided by the message content header
InstrumentDataType |  | Contains instrument data in the form of Measurement elements |  | GeneralDeviceDataType |  |  |  | yes | A data type to provide data collected from a device other than a radiation detection device during a detection event.
InstrumentDataType | Remark |  | 1 | GeneralDeviceDataType | RemarkText | cbrn:RemarkText | 0, 1 | yes | Remarks regarding the device measurement data. | FALSE | FALSE | TRUE | FALSE | none
|  |  | 2 | GeneralDeviceDataType | TraversalID | cbrn:TraversalID | 0, 1 | yes | Unique identifier for this traversal. If the identifier is unknown, the value must be set to "unknown". | FALSE | FALSE | TRUE | FALSE | none
|  |  | 3 | GeneralDeviceDataType | DetectionEventUUID | cbrn:DetectionEventUUID | 0, 1 | yes | Identification information for a detection event. | FALSE | FALSE | TRUE | FALSE | none
InstrumentDataType | Measurement | A "measurement" from an instrument | 4 | GeneralDeviceDataType | DeviceMeasurementData | n25gd:DeviceMeasurementDataType | 0, 1 | yes | Data collected from a device, and information about the device, measured item, and location. | FALSE | FALSE | TRUE | FALSE | none
InstrumentDataType | Calibration | Calibration data | 5 | GeneralDeviceDataType | DeviceCalibrationData | n25gd:DeviceCalibrationDataType | 0, 1 | yes | Calibration data associated with a device measurement. | FALSE | FALSE | TRUE | FALSE | none
|  |  | 0 | GeneralDeviceDataType | detectionEventCategoryCode | cbrncl:DetectionEventCategoryCodeSimpleType |  | yes | A classification of a Detection Event. | TRUE | FALSE | TRUE | FALSE
|  |  | 0 | GeneralDeviceDataType | detectionEventKindCode | cbrncl:DetectionEventKindCodeSimpleType |  | yes | A kind of Detection Event. | TRUE | FALSE | TRUE | FALSE
Measurement |  | A "measurement" from an instrument |  | DeviceMeasurementDataType |  |  |  | yes | A data type to provide data collected from a device, and information about the device, measured item, and location.
Measurement | Remark |  | 1 | DeviceMeasurementDataType | RemarkText | cbrn:RemarkText | 0, 1 | yes | Remarks regarding the device measurement data. | FALSE | FALSE | TRUE | FALSE | none
Measurement | UUID | Unique identifier for this measurement | 2 | DeviceMeasurementDataType | MeasurementUUID | niem-xsd:string | 0, 1 | yes | Unique identifier of this measurement data. | FALSE | FALSE | TRUE | FALSE | none
Measurement | InstrumentInformation | Description of the instrument | 3 | DeviceMeasurementDataType | DeviceInformation | n25gd:DeviceInformationType | 0, 1 | yes | Information about the device that collected the data. | FALSE | FALSE | TRUE | FALSE | none
Measurement |  |  | 4 | DeviceMeasurementDataType | MeasurementLocation | cbrn:RadEncounterDeviceLocationType | 0, 1 | yes | Location of a device at the time of collection of data regarding the measured item. | FALSE | FALSE | TRUE | FALSE | none
Measurement | MeasuredItemInformation | Description of measured item: what it is and where the measurement was done | 5 | DeviceMeasurementDataType | MeasuredItemInformation | cbrn:MeasuredItemType | 0, 1 | yes | Information about the item measured by a device. | FALSE | FALSE | TRUE | FALSE | none
Measurement | RawData | Raw data retrieved from any non-radiation instrument | 6 | DeviceMeasurementDataType | RawData | n25gd:RawDataType | 0, 1 | yes | Data collected by a device regarding its measurement of an item of interest. | FALSE | FALSE | TRUE | FALSE | none
Measurement | AnalysisResults | Results of the analysis of the measurement | 7 | DeviceMeasurementDataType | AnalysisResults | n25gd:AnalysisResultsType | 0, 1 | yes | Results of analysis of data collected by a device regarding an item of interest. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation |  | Description of the instrument |  | DeviceInformationType |  |  |  | yes | A data type for information about a device that is used to collect data regarding an item of interest.
InstrumentInformation | Remark |  | 1 | DeviceInformationType | RemarkText | cbrn:RemarkText | 0, 1 | yes | Remarks regarding the device measurement data. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | InstrumentType | Instrument type (e.g., spectrometer, personal radiation detector, ...) | 2 | DeviceInformationType | EncounterDeviceCategoryCode | cbrn:EncounterDeviceCategoryCode | 0, 1 | yes | Description of a kind of encounter device. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | Manufacturer | Instrument manufacturer | 3 | DeviceInformationType | ItemMakeName | nc:ItemMakeName | 0, 1 | yes | Name of the manufacturer of a device used to collect detection measurement data. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | InstrumentModel | Instrument model | 4 | DeviceInformationType | ItemModelName | nc:ItemModelName | 0, 1 | yes | The model name of a device used to collect detection measurement data. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | InstrumentVersion | Instrument version | 5 | DeviceInformationType | EncounterDeviceVersion | cbrn:EncounterDeviceVersion | 0, 1 | yes | Version identification information for an encounter device. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | InstrumentID | Instrument identification (e.g., serial number) | 6 | DeviceInformationType | RadEncounterDeviceID | cbrn:RadEncounterDeviceID | 0, 1 | yes | An encounter device's identifier. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | ProbeType | Description of intrument's probe (i.e., detector) | 7 | DeviceInformationType | EncounterDeviceProbe | cbrn:EncounterDeviceProbe | 0, 1 | yes | Identifies the kind of probe used by an encounter device. | FALSE | FALSE | TRUE | FALSE | none |  | Is this needed for a general device type?
InstrumentInformation | QualityControl | Instrument quality control information | 8 | DeviceInformationType | EncounterDeviceQualityControl | cbrn:EncounterDeviceQualityControl | 0, 1 | yes | Describes the quality control status of an encounter device. | FALSE | FALSE | TRUE | FALSE | none
InstrumentInformation | InstrumentMode | Instrument mode (measure, calibrate, test, ...) | 0 | DeviceInformationType | radEncounterDeviceModeCode | cbrncl:RadEncounterDeviceModeCodeSimpleType | 0, 0 | yes | The operating mode of an encounter device. | TRUE | FALSE | TRUE | FALSE
QualityControl |  | Instrument quality control information | [13 empty] | included in cbrn:RadEncounterDeviceQualityControl
QualityControl | Remark | [14 empty] | included in cbrn:RadEncounterDeviceQualityControl
QualityControl | InspectionDate | Date of most recent instrument inspection | [13 empty] | included in cbrn:RadEncounterDeviceQualityControl
QualityControl | InService | Is the instrument in service? | [13 empty] | included in cbrn:RadEncounterDeviceQualityControl
MeasuredItemInformation |  | Description of measured item: what it is and where the measurement was done | [13 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | Remark | [14 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | ItemDescription | Description of measured item | [13 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | ItemQuantity | Quantity or size of item and the uncertainty in that value | [13 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | MeasurementLocation | Location of the measurement | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
MeasuredItemInformation | ItemReferenceDate | Reference date for activity calculations (i.e., activities decay-corrected to this date) | [13 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | MeasurementGeometryDescription | Description of the measurement geometry | [13 empty] | included in cbrn:MeasuredItemType
MeasuredItemInformation | ItemToDetectorDistance | Effective item-to-detector distance | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
MeasuredItemInformation | MeasurementOperator | Identifies the instrument's operator | [13 empty] | included in cbrn:MeasuredItemType
ItemToDetectorDistance |  | Effective item-to-detector distance | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
ItemToDetectorDistance | Units | Units of the item-to-detector distance | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
ItemQuantity |  | Quantity or size of item and the uncertainty in that value | [13 empty] | included in cbrn:MeasuredItemType
ItemQuantity | Units | Units of "quantity" | [13 empty] | included in cbrn:MeasuredItemType
MeasurementLocation |  | The physical location where the measurement was performed | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
MeasurementLocation | Remark | [14 empty] | Included in cbrn:RadEncounterDeviceLocationType
MeasurementLocation | MeasurementLocationName | Name or description(e.g., address) of the measurement location | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
MeasurementLocation | Coordinates | Geographical coordinates (latitude, longitude, optional elevation) | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
Coordinates |  | Geographical coordinates (latitude, longitude, optional elevation) | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
Coordinates | Datum | EPSG map datum reference identification number (see www.epsg.org) | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
Coordinates | Time | Date/time of coordinates measurement | [13 empty] | Included in cbrn:RadEncounterDeviceLocationType
RawData |  | Data measured by a non-radiation instrument |  | RawDataType |  |  |  | yes | A data type to provide the data collected by an encounter device.
RawData | Remark |  | 1 | RawDataType | RemarkText | cbrn:RemarkText | 0, 1 | yes | System or user entered remarks regarding the data collected by an encounter device. | FALSE | FALSE | TRUE | FALSE | none
RawData | InstrumentID | Source Instrument ID | [13 empty] | Included in BinaryCaptureDataType
RawData | MultimediaData | An image or other visual/audio information relating to the item or measurement | 2 | RawDataType | DeviceData | cbrn:BinaryType | 0, many | yes | A binary file containing the data collected by the encounter device, such as a photographic or x-ray image. | FALSE | FALSE | TRUE | FALSE | none
RawData | PictureAngle | [14 empty] | Issue: if the image data is a sequence within the file, then each sequence can have it's own perspective. Need to align perspective with sequence number. This means that this element will not appear here, but will be contained within cbrn:BinarySequenceType
Calibration |  | Calibration data |  | DeviceCalibrationDataType |  |  |  | yes | A data type for calibration data associated with a device measurement.
Calibration | Remark |  |  | DeviceCalibrationDataType | RemarkText | cbrn:RemarkText | 0, 1 | yes | Remarks regarding the device measurement data. | FALSE | FALSE | TRUE | FALSE | none
Calibration | CalibrationTimeStamp | Date/time of calibration's creation | 1 | DeviceCalibrationDataType | CalibrationCreationDateTime | cbrn:CalibrationCreationDateTime | 0, 1 | yes | Date/time of calibration's creation. | FALSE | FALSE | TRUE | FALSE | none
Calibration | CalibrationSettings | Calibration data of any instrument | 2 | DeviceCalibrationDataType | CalibrationSetting | cbrn:ParameterSetPairType | 0, many | yes | A parameter name-value pair that provide data on a calibration setting. | FALSE | FALSE | TRUE | FALSE | none
Calibration | CalibrationMeasurementUUID | Unique identifier of the measurement used to develop this calibration. | 3 | DeviceCalibrationDataType | calibrationMeasurementUUID | cbrn:calibrationMeasurementUUID |  | yes | Unique identifier of the measurement used to develop this calibration. | TRUE | FALSE | TRUE | FALSE
AnalysisResults |  | Results of data analysis of a measurement |  | AnalysisResultsType |  |  |  | yes | A data type to provide the results of analysis of data collected by a device regarding an item of interest.
AnalysisResults | Remark |  | 1 | AnalysisResultsType | RemarkText | cbrn:RemarkText | 0, 1 | yes | System or user entered remarks regarding the analysis results. | FALSE | FALSE | TRUE | FALSE | none
AnalysisResults | OCRAnalysis | OCR data analysis | 2 | AnalysisResultsType | OCRAnalysis | n25gd:OCRAnalysisType | 0, 1 | yes | Analysis results from OCR data. | FALSE | FALSE | TRUE | FALSE | none
AnalysisResults | NIIAnalysis | NII data analysis | 3 | AnalysisResultsType | NIIAnalysis | n25gd:NIIAnalysisType | 0, 1 | yes | Analysis results from NII data. | FALSE | FALSE | TRUE | FALSE | none
OCRAnalysis |  | Details of Container ID procurement Methods |  | OCRAnalysisType |  |  |  | yes | A data type for OCR data. | [6 empty] | Does this duplicate the data in MeasuredItem? Is the OCR data only for MeasuredItemIDs?
OCRAnalysis | OCRConfidenceLevel | OCR Confidence Level | 1 | OCRAnalysisType | IdConfidenceCode | cbrn:IdConfidenceCode | 0, 1 | yes | Description of the confidence that the data provided by the OCR device is correct. | FALSE | FALSE | TRUE | FALSE | none
OCRAnalysis | OCRExtractedString | String extracted from OCR image | 2 | OCRAnalysisType | OCRExtractedID | niem-xsd:string | 0, 1 | yes | The identifier value provided by the OCR device. | FALSE | FALSE | TRUE | FALSE | none
OCRAnalysis | ManuallyEnteredID | ID entered manually | 3 | OCRAnalysisType | ManuallyEnteredID | niem-xsd:string | 0, 1 | yes | The identifier value provided by manual data entry. | FALSE | FALSE | TRUE | FALSE | none
OCRAnalysis | EntryPersonalID | Person who entered id | 4 | OCRAnalysisType | EntryPersonID | cbrn:EntryPersonID | 0, 1 | yes | Identifier of the person who manually entered the indentifier value. | FALSE | FALSE | TRUE | FALSE | none
NIIAnalysis |  | Details of Container ID procurement Methods |  | NIIAnalysisType |  |  |  | yes | A data type for analysis of NII data.
NIIAnalysis | Remarks | Comments of NII operator | 1 | NIIAnalysisType | NIIDeviceOperatorComments | cbrn:EncounterDeviceOperatorCommentsType | 0, 1 | yes | Comments of a NII device operator. | FALSE | FALSE | TRUE | FALSE | none