Department of Homeland Security

Customs and Border Protection

And

Domestic Nuclear Detection Office

N.25 Radiation & Nuclear Detection Message Protocol

Information Exchange Package Documentation

Volume 3. Alarm Summary Message

Document Number 500-IECBP-107350 Volume 3v1.1.40

14 February 2009

Change History

The following table indicates the changes that were made to this document since its last release. Note: version number is formed to correspond to the IEPD version number as follow:    MajorVersionNumber.MinorVersionNumber.BuildNumber.

| New Version | Modified By | Section | Page | Change Made |
| --- | --- | --- | --- | --- |
| 1.0.39 | W. R. Wright | All | All | Initial Release for CBP and DNDO review. |
| 1.1.40 | CBP TASPO and W. R. Wright | All | All | Revise name of message and change from RN to CBRN Domain. |

Table of Contents

Change History	2

1.1	Purpose	4

1.2	Introduction	4

1.3	IEPD Artifacts	4

1.4	Reference Documents	4

2	Business Scenario	5

3	Business Requirements	5

4	Business Processes and Rules	5

5	Implementer Notes	5

5.1	General	5

5.2	Common	6

5.3	Details	6

Appendix A.	Schema Outline	8

List of Tables

Table 1.  Reference Documents	4

N.25 Alarm Summary Message

## Purpose

This document provides details of the N.25 Alarm Summary Message. The intent is to assist implementers understanding of the data requirements for this message type.

## Introduction

This message group provides an exchange for transmitting data about a radiation alarm that has occurred at a detection site.

Note: The Site Operations Info Message includes an Alarm Notification message that provides a very abbreviated notification that an alarm has occurred.  Site operational procedures will determine the conditions when the Alarm Notification or Alarm Summary message will be sent.

## IEPD Artifacts

The N.25 IEPD artifacts for this message are:

- This document

- NIEM compliant XML exchange schemas (unconstrained and constrained)

- Component Mapping Template

- Visual model of the message schema

- Sample Messages

The detailed list of the digital data files that comprise the N.25 IEPD artifacts for this message is contained in the IEPD Catalog.

## Reference Documents

The following table lists the reference documents for this message.

Table 1.  Reference Documents

| Document Type | Date | Document Title |
| --- | --- | --- |
| Master Document |  | Master Document Volume 6 – Site Operations Info Message |

# Business Scenario

The scenario in which this message is transmitted involves a CBRN detection event in which a detector has determined that the substance it is sensing has passed an acceptable threshold indicating the possible presence of threat materials.  In this situation detection devices are designed to trigger an alarm. The alarm may be signaled by a light or audible sound for human operators, and by sending data about the alarm condition to a local or remote control system.  The control system will in turn automatically transmit this Alarm Summary message and/or other messages depending on the detection site’s operational procedures.

Reporting needs may also be required for alarm reporting based on factors like alarm frequency, conveyance information that triggered the alarm, alarm location, and threat nature of the alarms. Data audit integrity is maintained by the DBMS. Audit functions provide origination tracking, time stamping, and versioning control for any alarm audit information. Historical data logs are created to provide information such as the procuring user id, date, time, before and after images, and other pertinent information.

# Business Requirements

The basic business requirement for this message is to transmit detection event alarm data from a detection site to other organizations for situational awareness.

# Business Processes and Rules

The business processes and rules are specific to organizational and site operational procedures and not addressed herein.

# Implementer Notes

## General

1. The schema outline provided in Appendix A provides a structured list of the desired schema elements and attributes.  Examination of the schema with an xml tool such as XML Spy or Stylus Studio will reveal more elements/attributes than appear in this outline. This is due to type inheritance that occurs with imports from referenced schema.  There is no requirement to implement any elements/attributes that do not appear in the schema outline in this document, unless specifically addressed in the detailed notes in this section.

2. The names in the schema outline in Appendix A are the xml tagged element names that will appear in a message instance. A name enclosed in parentheses following the element name is an attribute.

3. Indentation is used in the schema outline to show parent-child nesting.

4. The schema outline includes element cardinality rules on the same line with the element, enclosed in brackets. The values and meanings are:

[1,1]  The element is required and there may be only one instance.

[0,1] The element is optional and there may be zero or one instance.

[0 or many]  The element is optional and there may be zero, one or many instances.

In some cases if an optional element is used, then a child element may be required. If a parent element is optional (ie, cardinality of [0, 1 or more]) and a child element is indicated as mandatory (eg., [1,1]) this means that the child element is required only if the optional parent element is included in the message.  Rules more specific than this are described in the relevant sections.

5. The descriptions explaining each element and attribute is contained in the schema xsd file in a ‘xsd:documentation’ statement immediately following the declaration of the element, attribute or type.  The information in this section 5 is supplementary to the documentation in the schema xsd file.

6. Two schema files are provided for each message: unconstrained and constrained. They are denoted by the schema filename suffix ‘-x’ and ‘-xc’ for unconstrained and constrained respectively.  The difference between the two is that the constrained schema includes cardinality constraints and other types of constraints, such as max and min values, that may be applicable. The constrained schema is used for the messages defined in this N.25 IEPD.  The unconstrained schema is provided as part of the general NIEM concept of share and reuse of data definitions by other domains and IEPDs.

## Common

Message Content Header:  All messages have a common header.  The following provide special notes on the elements of the header:

<MessageOrigin> -  To identify the message origin, at least one of <FacilityID>, <FacilityName>, or <OrganizationIdentification>, <OrganizationName> must be provided. Normally this is the detection site name and/or identifier for this message.

<MessageDestination> - At least one destination is required.A message may be sent to multiple destinations by including this element for each destination with at least one of  <FacilityID>, <FacilityName>, or <OrganizationIdentification>, <OrganizationName>.

Coordinated Universal Time (UTC) shall be used in all date and time elements.  XML standards use the dateTime format based on the ISO 8601 dateTime [YYYY-MM-DDTHH:MM:SSZ] where the “Z” is appended to indicate Universal Time (UTC). Note that in the event of times/durations involving fractions of a second, the separator between seconds and fractions of seconds may be a comma or the full stop, eg. “.”.  The number of fraction digits shall not exceed three (3).

The information in each of the following sections supplements the information in the schema for the identified elements.  If an element is not discussed, this means that there is no supplementing information.

## Details

The documentation included in the message schema XSD file for each element is supplemented with the following information:

<SubFacility> - This element is intended to identify the part of a detection site where the alarm occurred, such as a lane or position.  If the detection site identified in the element <FacilityID> or <FacilityName> has no further breakdown for identifying the assigned position of a detector device, then this element should not be used.  If the physical arrangement of the detection site is such that there the alarming device is at a subsubfacility or lower, then multiple <SubFacility> tags may be used. The sequence in which the multiple <SubFacility> tags appear in the message identify the levels of the facility configuration.

<AnalysisOrgCode> - If the message includes the optional <AlarmAnalysis> tag, and the analysis data has been provided by the detection device itself, then the value of this element shall be <NA>.  If the analysis data is from the device operator or local officers then the value of this element shall be <Site>.  Site applies to both fixed and mobile sites, to include teams such as boarding parties.

# Schema Outline

AlarmSummaryMessage [1,1]

MessageContentHeader [1,1]

MessageID [1,1]

MessageCreationDateTime [1,1]

MessageDispatchDateTime [1,1]

MessageKindCode [1,1]

MessagePriorityCode [0,1]

MessageOrigin [1,1]

Choice of two of the following

FacilityID [0,1]

FacilityName [0,1]

OrganizationIdentification [0,1]

OrganizationName [0,1]

MessageDestination [1,many]

Choice of two of the following

FacilityID [0,1]

FacilityName [0,1]

OrganizationIdentification [0,1]

OrganizationName [0,1]

MessageVersionText [0,1]

RemarkText [0,1]

MessageContent (detectionEventKindCode) [1,1]

DetectionEventUUID [1,1]

CaseUUID [0,1]

AlarmingActivityCode [0,1]

AlarmingSite [1,1]

AlarmingSiteLocation [0,1]

LocationName [0,1]

GeoPosition (dataQualityCode) [0,1]

CoordinateDateTime [0,1]

CoordinateDuration [0,1]

GeographicCoordinates (cepValue) [0,1]

Latitude [1,1]

LatitudeDegreeValue [1,1]

LatitudeMinuteValue [0,1]

LatitudeSecondValue [0,1]

Longitude [1,1]

LongitudeDegreeValue [1,1]

LongitudeMinuteValue [0,1]

LongitudeSecondValue [0,1]

Elevation [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

LengthUnitCode [0,1]

GeographicDatumCode [0,1]

CoordinatesMethodCode [0,1]

AddressDetails [0,1]

LocationName [0,1]

LocationAddress [0,1]

Choice of one of the following

AddressFullText [0,1]

StructuredAddress [0,1]

Choice of one of the following

AddressDeliveryPointText [0,1]

LocationRouteName [0,1]

LocationStreet [0,1]

StreetPostdirectionalText [0,1]

StreetNumberText [0,1]

StreetName [0,1]

StreetCategoryText [0,1]

StreetPredirectionalText [0,1]

LocationCityName [0,1]

LocationStateFIPS10-4InternationalCode [0,1]

LocationCountryISO3166Alpha3Code [0,1]

LocationHighway [0,1]

LocationDescriptionText [0,1]

SiteSpecialInfoText [0,1]

LocationDirectionsText [0,1]

SiteMobileIndicator [0,1]

SiteMobileDescriptionText [0,1]

MapGuideLocation [0,1]

MapGuideBrandCode [1,1]

MapGuideName [1,1]

MapGuidePageNumber [1,1]

MapGuideGridNumber [1,1]

AlarmingSiteContactPerson [0,1]

Choice of one of the following

EmployeeIdentifier [0,1]

PersonName [0,1]

PersonNamePrefixText [0,1]

PersonGivenName [0,1]

PersonMiddleName [0,1]

PersonSurName [0,1]

PersonNameSuffixText [0,1]

PersonFullName [0,1]

ActivityUserLogonID [0,1]

AlarmingSiteContactInfo [0,1]

Choice of 0 or many of the following

ContactEmailID [0,1]

ContactInstantMessenger [0,1]

InstantMessengerClientName [1,1]

InstantMessengerScreenID [1,1]

ContactMailingAddress [0,1]

Choice of one of the following

AddressFullText [0,1]

StructuredAddress [0,1]

Choice of one of the following

AddressDeliveryPointText [0,1]

LocationRouteName [0,1]

LocationStreet [0,1]

StreetPostdirectionalText [0,1]

StreetNumberText [0,1]

StreetName [0,1]

StreetCategoryText [0,1]

StreetPredirectionalText [0,1]

LocationCityName [0,1]

LocationStateFIPS10-4InternationalCode [0,1]

LocationCountryISO3166Alpha3Code [0,1]

ContactRadio [0,1]

ContactRadioCategoryText [0,1]

ContactRadioChannelText [0,1]

ContactRadioCallSignID [0,1]

ContactTelephoneNumber [0,1]

Choice of one of the following

FullTelephoneNumber [0,1]

TelephoneNumberFullID [0,1]

TelephoneSuffixID [0,1]

InternationalTelephoneNumber [0,1]

TelephoneCountryCodeID [0,1]

TelephoneNumberID [0,1]

TelephoneSuffixID [0,1]

NANPTelephoneNumber [0,1]

TelephoneAreaCodeID [0,1]

TelephoneExchangeID [0,1]

TelephoneLineID [0,1]

TelephoneSuffixID [0,1]

ContactFaxNumber [0,1]

Choice of one of the following

FullTelephoneNumber [0,1]

TelephoneNumberFullID [0,1]

TelephoneSuffixID [0,1]

InternationalTelephoneNumber [0,1]

TelephoneCountryCodeID [0,1]

TelephoneNumberID [0,1]

TelephoneSuffixID [0,1]

NANPTelephoneNumber [0,1]

TelephoneAreaCodeID [0,1]

TelephoneExchangeID [0,1]

TelephoneLineID [0,1]

TelephoneSuffixID [0,1]

ContactMobileTelephoneNumber [0,1]

Choice of one of the following

FullTelephoneNumber [0,1]

TelephoneNumberFullID [0,1]

TelephoneSuffixID [0,1]

InternationalTelephoneNumber [0,1]

TelephoneCountryCodeID [0,1]

TelephoneNumberID [0,1]

TelephoneSuffixID [0,1]

NANPTelephoneNumber [0,1]

TelephoneAreaCodeID [0,1]

TelephoneExchangeID [0,1]

TelephoneLineID [0,1]

TelephoneSuffixID [0,1]

ContactPagerNumber [0,1]

Choice of one of the following

FullTelephoneNumber [0,1]

TelephoneNumberFullID [0,1]

TelephoneSuffixID [0,1]

InternationalTelephoneNumber [0,1]

TelephoneCountryCodeID [0,1]

TelephoneNumberID [0,1]

TelephoneSuffixID [0,1]

NANPTelephoneNumber [0,1]

TelephoneAreaCodeID [0,1]

TelephoneExchangeID [0,1]

TelephoneLineID [0,1]

TelephoneSuffixID [0,1]

ContactWebsiteURI [0,1]

ContactInformationDescriptionText [0,1]

AlarmDispatchRequestingAgency [0,1]

OrganizationIdentification [0,1]

OrganizationName [0,1]

AlarmEventCallBackTelephoneNumber [0,1]

Choice of one of the following

FullTelephoneNumber [0,1]

TelephoneNumberFullID [0,1]

TelephoneSuffixID [0,1]

InternationalTelephoneNumber [0,1]

TelephoneCountryCodeID [0,1]

TelephoneNumberID [0,1]

TelephoneSuffixID [0,1]

NANPTelephoneNumber [0,1]

TelephoneAreaCodeID [0,1]

TelephoneExchangeID [0,1]

TelephoneLineID [0,1]

TelephoneSuffixID [0,1]

FacilityInfo [0,1]

FacilityID [0,1]

FacilityName [0,1]

FacilityUsage [0,1]

Choice of one of the following

FacilityKindCode [0,1]

FacilityFunctionCode [0,1]

FacilityUsageDescriptionText [0,1]

FloorIdentification [0,1]

RoomIdentification [0,1]

SubFacilityInfo [0,many]

FacilityID [0,1]

FacilityName [0,1]

FacilityUsage [0,1]

Choice of one of the following

FacilityKindCode [0,1]

FacilityFunctionCode [0,1]

FacilityUsageDescriptionText [0,1]

FloorIdentification [0,1]

RoomIdentification [0,1]

AlarmingDevice [0,1]

EncounterDeviceID [0,1]

EncounterDeviceCategoryCode [1,1]

ItemModelName [1,1]

AlarmingItem [0,1]

MeasuredItemID [1,1]

MeasuredItemKindCode [0,1]

MeasuredItemHeightAGL [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

LengthUnitCode [0,1]

ItemDescriptionText [0,1]

ConveyanceData [0,1]

ConveyanceIdentificationData [1,1]

ItemName [0,1]

ItemDescriptionText [0,1]

ConveyanceRegistrationPlateInfo [0,many]

ConveyanceIdentificationCategoryCode [0,1]

IdentificationID [1,1]

LocationStateFIPS10-4InternationalCode [1,1]

IdentificationJurisdictionISO3166Alpha3Code [0,1]

RegistrationEffectiveDate [0,1]

RegistrationExpirationDate [0,1]

ItemBarCodeIdentification [0,1]

ItemRFIdentification [0,1]

ItemVisibleID [0,1]

ItemMakeName [0,1]

ItemModelName [0,1]

ItemModelYearDate [0,1]

ConveyancePrimaryColorCode [0,1]

ConveyanceSecondaryColorCode [0,1]

LengthUnitCode [0,1]

ConveyanceLengthMeasure [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

ConveyanceWidthMeasure [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

ConveyanceHeightMeasure [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

WeightUnitCode [0,1]

ConveyanceWeightMeasure [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

ConveyanceWeightDescriptionText [0,1]

ItemOwner [0,1]

AlarmData [1,1]

RemarkText [0,1]

RadAlarmID [1,1]

RadAlarmDateTime [1,1]

AlarmDescriptionCode [0,1]

RadAlarmLightCode [0,1]

RadAlarmAudibleIndicator [0,1]

RadAlarmKindCode [0,1]

AlarmCoordinates (cepValue) [0,1]

Latitude [1,1]

LatitudeDegreeValue [1,1]

LatitudeMinuteValue [0,1]

LatitudeSecondValue [0,1]

Longitude [1,1]

LongitudeDegreeValue [1,1]

LongitudeMinuteValue [0,1]

LongitudeSecondValue [0,1]

Elevation [0,1]

Choice of one of the following

MeasurePointValue [0,1]

MeasureRangeValue [0,1]

MeasureEstimatedIndicator [0,1]

LengthUnitCode [0,1]

AlarmPermit [0,1]

PermitIdentification [0,1]

IdentificationID [0,1]

IdentificationJurisdictionISO3166Alpha3Code [0,1]

PermitCategoryText [0,1]

AlarmConfirmationMethodDescriptionText [0,1]

AlarmExpiredDateTime [0,1]

AlarmAnalysis [0,1]

ThreatDescriptionText [0,1]

NuclideCode [0,many]

ThreatLevelDeterminationCode [0,1]

AnalysisStartDateTime [0,1]

AnalysisEndDateTime [0,1]

AnalysisOrgCode [0,1]

AlarmUpdateIndicator [0,1]

RefAlarmMessageID [0,many]