APCO / IJIS Institute

External Alarm Interface Exchange 3.1

Information Exchange Package Documentation

8/5/2009

Provides a NIEM 2.0 based specification for exchange of information between alarm monitoring companies and Public Safety Access Points (PSAPs).

Contents

Overview	3

Purpose	3

Versioning	3

Change Log (upgrade from 2.0 to 3.0)	3

Change Log (upgrade from 3.0 to 3.1)	3

Sponsor/Project	3

Sponsor	4

Background / History	5

IEPD	8

Standards and Codes Utilized	8

Logical Data Requirements Model	9

Physical Data Requirements Model	9

Component Mapping Spreadsheet (CMT)	10

Exchange Schema	10

Methodology	11

Timeline	11

Implementation Recommendations	11

Supported Exchanges	14

Exchange Model	14

Exchange Detail	21

XML Validation	22

Glossary	23

# Overview

## Purpose

The purpose of the Alarm 3.1 documentation is to provide a mechanism to electronically transmit information between an Alarm Monitoring Company and a Public Safety Answering Point (PSAP).  There are three primary uses for this IEPD:

- Initial notification of an alarm event

- Bi-directional update of status between an alarm monitoring company and the PSAP

- Bi-directional update of other events between an alarm monitoring company and a PSAP

## Versioning

| Date | Version |
| --- | --- |
| September 15, 2006 | 2.0 (GJXDM 3.0.3) |
| August 21, 2008 | 3.0 (NIEM 2.0) |
| August 5, 2009 | 3.1 |

## Change Log (upgrade from 2.0 to 3.0)

- Mappings were changed from GJXDM to NIEM 2.0

- Two elements were added based on lessons learned from implementing Alerts 2.0

  - Building Sensor Details Text: free text field used to indicate information specific to a building sensor if available

  - Source IP Address: used to verify and validate the source alarm monitoring company

- The name of the IEPD was updated for clarity (from External Alert to External Alarm).

## Change Log (upgrade from 3.0 to 3.1)

- Changed target namespace from http://www.apco.com/ExternalAlarm/3.0 to http://www.apcointl.com/new/commcenter911/external-alarm.xsd

## Sponsor/Project

This effort to upgrade the External Alarm Exchange IEPD was sponsored by the Public Safety Data Interoperability (PSDI) Program, funded by the Bureau of Justice Assistance (BJA) and co-managed by APCO and the IJIS Institute.

The overall Public Safety Data Interoperability (PSDI) Program is anticipated to encompass multiple projects, and is focused on advancing standards-based information sharing to support the emergency communications domains – police, fire, and EMS – and other relevant homeland security domains.  The goal of this project is to improve the real time information sharing capabilities in the emergency response environment.  This includes development of high value information exchanges (IEPDs) related to Local Communication Centers/PSAPs.

The Project Committee is composed of 16 representatives from APCO, Law Enforcement, Fire Services, EMS, Industry, Emergency Management, Transportation, and BJA.  At the time of this writing, the committee members are:

| Status | Name | Agency/Company | Role / Representing |
| --- | --- | --- | --- |
| Member | Bill Hobgood | City of Richmond VA | Communications |
| Member | Barbara Thornburg | NENA Committee Resource Manager (NENA) | Communications |
| Member | Art Meacham | Caddo Parish Communications District LA | Communications |
| Member | Jim Slater | MA Executive Office of Public Safety | Law Enforcement |
| Member | Dave Mulholland | United States Park Police | Law Enforcement |
| Member | Charles Werner | International Assoc of Fire Chiefs (IAFC) | Fire Services |
| Member | Jim Smalley | National Fire Protection Association (NFPA) | Fire Services |
| Member | Kevin McGinnis | National Association of State EMS Officials (NASEMSO) | Emergency Medical Services |
| Member | MacNeil Cross | Chief (Ret), New York City FD | Emergency Medical Services |
| Member | Ernie Blair | Int'l Assoc of Emergency Managers (IAEM) | Emergency Management |
| Member | Jonathan Spanos, PhD | National Emergency Management Assoc. (NEMA) | Emergency Management |
| Member | Wayne Gisler | Harris County / Houston TranStar, Houston TX | Transportation |
| Member | Bill Kellett (Chair) | Microsoft | Industry |
| Member | David Finchum | BIO-key International | Industry |
| Member | Linda Hill | The Archer Group | Industry |
| Member | Alan Harker | Spillman Technologies | Industry |
| Backup | Calvin Harvey | Harris County Toll Road Authority (TX) | Transportation |
| Sponsor Representative | Chris Traver | BJA | Project Sponsor |
| APCO PM | Stephen J. Wisely | APCO | Project Support |
| APCO Support | Amanda Byrd | APCO | Project Support |
| IJIS PM | Scott Parker | IJIS Institute | Project Support |

## Sponsor

This project is funded by the Bureau of Justice Assistance’s Edward Byrne Memorial Discretionary Grants Program.  BJA is a component of the Office of Justice Programs of the U.S. Department of Justice.  The mission of the BJA is to provide leadership and services in grant administration and criminal justice policy development to support local, state, and tribal justice strategies to achieve safer communities.  One of the BJA's goals is to improve the functioning of the criminal justice system.  To achieve these goals, BJA programs emphasize enhanced coordination and cooperation of federal, state, and local efforts. (http://www.ojp.usdoj.gov/BJA)

Project Management

The IJIS Institute is a non-profit corporation funded mostly through grants from DOJ’s Office of Justice Programs, Bureau of Justice Assistance (BJA).  The Institute assists “national scope” efforts related to information sharing in justice and public safety.  The Institute comprises a membership of approximately 200 companies active in supplying information technology products and services to justice and public safety agencies.  The IJIS Institute achieves its mission of advancing information sharing through the development and endorsement of standards, and by providing assistance to local, tribal, and state agencies.  (www.ijis.org)

The Association of Public Safety Officials (APCO) has a strong cadre of senior management executives, technical staff, and enthusiastic committee structure that is perfectly positioned to support the IJIS Institute and affiliated organizations to undertake and successfully complete the objectives of this project.  APCO has a long history of providing leadership in a myriad of public safety projects and initiatives.  Through the 70-plus-year history of APCO it has been at the forefront of projects dedicated to the safeguarding of our citizens and improving public safety communications.  APCO’s qualified staff champions projects with goals to standardize processes, procedures, and services.  (www.apcointl.org)

## Background / History

APCO International established the CAD-to-CAD Interconnectivity Project, Project 36, in August 2000 to explore the interconnectivity between different CAD systems. In August 2004, APCO International encouraged the expansion and spin-off of Project 36 with the inclusion of voice and data exchange between PSAPs and third-party call center operators such as Central Station Alarm Association member companies. The APCO International Board of Officers assigned the expanded version of this data exchange development program between PSAPs and Central Station Alarm Association (CSAA) member companies to a new Third Party Call Center Group, which included the CSAA.

The Association of Public-Safety Communications Officials (APCO) International and the CSAA formerly announced on January 4, 2005 a partnership to join forces to develop an exchange that will be consistently used by Computer-Aided-Dispatch (CAD) providers and Central Station Alarm Companies for Public Safety Answering Points (PSAPs) to increase efficiency and decrease errors.

The first beta site selected for the initial test project to conduct tests between PSAPs and a Central Alarm Monitoring Station member company over the Internet was York County, Virginia, Department of Fire & Life Safety, Emergency Communications Division.  Vector Security was selected as the CSAA member company to participate in the electronic alarm exchange.  On October 22, 2004, the first data template was successfully completed following this collaboration. The XML standard was used for this initiative.

An Alerts Working Team was formed and met in Daytona Beach, Florida in February 2006 to begin the External Alert 2.0 Information Exchange Package Document (IEPD) development.  This working team was formed by the IJIS Public Safety Technical Standards Committee (IPSTSC) to create external alerts and requests-for-service IEPDs using the GJXDM standard.

Following a two year development effort which included extensive testing, the Alarm Interface Exchange 2.0 between York County & Vector Security went live on July 15, 2006.  The initial exchange included only Burglar and Hold-Up alarms.  The exchange was conducted via the Internet with all necessary security in place at Vector Security and York County.  A web service was implemented by GE Security.  In order to protect the CAD System from vulnerability and exposure to the Internet, a middleware application was created to allow a server sitting on York County’s DMZ to be responsible for all traffic between the CAD System and the alarm company.  The average turn-around time from the time that the alarm company operator transmitted the alarm to the PSAP until the final Accept or Reject was 45 seconds.  It is the policy that each alarm monitoring company operator would initiate a call to the PSAP if no response was received within 45 seconds.

The City of Richmond’s Police Division of Emergency Communications authorized a development partnership with York County since both localities were using the same CAD System.  This partnership included APCO and the CSAA.  APCO and the CSAA were anxious to collect as much data as possible surrounding the outcome of the alarm exchange interface and requested that the City of Richmond participate in the pilot.  The alarm interface exchange went live between the City of Richmond and Vector Security on August 4, 2006 using the business process flow described above. The initial phase of the pilot was so successful that Fire and Medical alarms became part of the pilot on October 24, 2006.

On September 11, 2007, the City of Richmond implemented a new Intergraph CAD System to replace the CAD system that had been written in-house and utilized for 27 years.  Intergraph was tasked to continue with the alarm interface exchange seamlessly.  This endeavor was successful.

In the spring of 2007, discussions began with NLETS, the International Justice and Public Safety Network, APCO, the Virginia State Police, and Vector Security to study the feasibility of routing all alarm interface exchange transactions via a VPN arrangement between Vector Security and NLETS.  NLETS has all of the necessary security in place and a private circuit to each state including the State of Virginia.  All parties agreed to perform a proof of concept and the necessary security and network nat rules were put into place.  On November 27, 2007, all alarm interface exchange traffic between Vector Security and the two Virginia PSAPs began being routed through NLETS and the State of Virginia switch.

On February 18, 2008, the External Alert 2.0 schema was implemented at the City of Richmond bringing the pilot to another milestone in achieving conformance with the Global Justice (GJXDM) model.  GE Security implemented an enhancement to streamline the delivery of alarm data to the PSAP.

Because of the secure transmission path via NLETS and the State of Virginia switch, vulnerability and exposure to the Internet is no longer an issue.  The middleware continues to facilitate traffic between the PSAPs and the alarm company, but no longer needs to reside on the DMZ.  The new average turn-around time from the time that the alarm company operator transmitted the alarm to the PSAP until final the final Accept or Reject is 15 seconds or less.

After being in operation for two years, over 4,200 alarm exchanges have been transmitted between Vector Security and the two Virginia PSAPs.  The benefit resulting from these 4,200 exchanges include:

- 4,200 less telephone calls to the two PSAPs, eliminating the need for the alarm monitoring company operator to converse with the PSAP call-taker.

- Elimination of miscommunication between the alarm company operator and the PSAP call-taker.

- A decrease in response times to alarm-related calls-for-service with an increase in law enforcement apprehensions made, fires more quickly extinguished, and lives saved.

The 2005 Alerts Working Team included the following participants:

| Name | Agency/Company |
| --- | --- |
| Holly Barkwell-Holland | Fire Monitoring Technologies |
| Jerry Cowser | Vector Security |
| Pam Petrow | Vector Security |
| Bruce Weissmann | GE Security |
| Adam Eurich | Dice Corporation |
| Bill Cade | APCO/Office 911 Service |
| Martin Moody | APCO/Office 911 Service |
| Alan Harker | Spillman Technologies |
| Randy Syth | Sungard THE |
| Aaron Gorrell | Waterhole Software |
| Vivek Misra | URL Integration |
| Suzette McLeod | IJIS Institute |
| Neil Kurlander | Asynchronous Solutions |
| Heather Ruzbasan | IACP/LEITSC |
| Matt Snyder | IACP |
| Tom Steele | Delaware DHS |
| Alan Komenski | Bellevue, Washington |
| Stephen Wisely | Onondaga Co 911 |
| Jim Cox | Port Orange Public Safety |
| David Wagner |  |

Development and Implementation Pilot Phase Participants:

| Name | Agency/Company | Role |
| --- | --- | --- |
| D. Terry Hall | York County Emergency Communications | York County Champion |
| Chief Stephen P. Kopczynski | York County / Fire & Life Safety | York County Sponsor |
| Chief Andre Parker | Richmond Police Department | City of Richmond Executive Sponsor (2004) |
| Chief Rodney Monroe | Richmond Police Department | City of Richmond Executive Sponsor (2005 – 2008) |
| Capt. Linda D. Samuel | Richmond Police Department | City of Richmond Champion (2004 – 2007) |
| Capt. William C. Smith | Richmond Police Department | City of Richmond Champion (2008) |
| Bruce Weissmann | GE Security | Former GE Security Project Manager (2004 – 2006) |
| Rick Denos | GE Security | Engineering Manager (2007 – 2008) |
| Bill Hobgood | City of Richmond, DIT | Project Manager for the PSAPs / Author of the CAD Systems |
| Jim Garner | City of Richmond, DIT | Senior Systems Engineer / Author of the Middleware |
| Mark Buckland | City of Richmond, DIT | Systems Developer |
| John Holtz | City of Richmond, DIT | Systems Developer |
| Pam Petrow | Vector Security | Vice-President, Vector / CSAA Representative |
| Anita Ostrowski | Vector Security | Assistant Vice President Vector / Vector Liaison |
| Jerry Cowser | Vector Security | Network Engineer |
| Bill Cade | APCO | 911 Technical Services Project Coordinator |
| Stephen J. Wisely | APCO | Technical Services Manager |
| Scott Parker | IJIS Institute | Project Manager |
| Chris Schuessler | Virginia State Police | Network Engineering Supervisor |
| Annette Shaffer | Virginia State Police | Network Engineer |
| John “JD” Dinbokowitz | NLETS | WAN Administrator |
| Russ Brodie | NLETS | Senior Project Manager / NLETS Integration |
| Frank Minice | NLETS | Operations Director |
| Bonnie Locke | NLETS | Director of Program Management |
| Nathan Hieger | GE Security | Systems Developer |
| Capt. Thomas Turner | Virginia State Police | CJIS Division Commander |
| Lt. Patrick “Pete” Fagan | Virginia State Police | CJIS Representative |

# IEPD

## Standards and Codes Utilized

- External Alert 2.0 was used as the baseline set of requirements.

- No code lists were created as part of this development effort

## Logical Data Requirements Model

The logical domain model captures data requirements from a user perspective.  It is meant to visually describe the data requirements of an IEPD.  The model diagram is available in the Support Documentation folder (“Logical Model.jpg”).

Figure 1 - Logical Data Requirements Model

## Physical Data Requirements Model

The physical model organizes the information in the way that it will be implemented using the a particular standard (NIEM 2.0).  In essence, the physical model allows the implementer to not only communicate the physical structure of the IEPD, but also to plan for how they will map the data requirements to the proscribed standard.  The diagram is available in the Supporting Documentation folder (“Physical Model.jpg”).

Figure 2 - Physical Data Requirements Model

## Component Mapping Spreadsheet (CMT)

The CMT is an excel file that cross-references the data requirements in the exchange to the specific elements within either NIEM or the locally extended file.  The file is available in the Supporting Documentation folder (“External Alarm 3.1 Mappings.xls”).

## Exchange Schema

| File Type | Location | Description |
| --- | --- | --- |
| NIEM 2.0 Schema Subset | /schema/niem/… | A subset of NIEM 2.0 that includes only those elements from NIEM that are required for this IEPD |
| Document Schema | /schema/apco-alarm/3.1/external-alarm.xsd | Contains the document root |
| Extension Schema | /schema/apco-alarm/3.1/external-alarm.xsd | The locally defined elements necessary to meet the business requirements identified in this IEPD |
| Wantlist | /schema/wantlist.xml | A list of elements and types used in NIEM 2.0 |
| Instance Document | /schema/xml/… | Four sample instance documents demonstrating use of the IEPD are included. See the exchange information section below for detail on how each instance document corresponds to a particular scenario. |
| Stylesheet | /schema/xml/alarm_stylesheet.xsl | When used in conjunction with an instance document, a stylesheet represents the information in a way that is more meaningful to a subject matter expert. |

## Methodology

Version 3.1 of the External Alarm Interface Exchange IEPD started by using the baseline requirements previously identified for the Alert 2.0 exchange.  The following methodology was used in the development of the External Alarm Interface Exchange 3.1 IEPD:

- Create initial logical data model based on Alert 2.0 requirements.

- Meet with Subject Matter Experts (SMEs) to identify missing elements and clarify definitions of some elements.

- Create physical model based on data requirements and specified standard

- Map elements identified in physical model and distribute mappings to SMEs for feedback.

- Create Schema Subset based on mappings.

- Create Document/Extension schema based on mappings.

- Create XML Instance document.

- Create XSL Stylesheet.

## Timeline

- June 2008: Received feedback from implementing organization regarding their use of Alarm 2.0 elements.

- July 10, 2008: Met with SMEs  to review their spreadsheet describing how they would use Alert 2.0 data elements for transmit information. Identified two additional elements as indicated in the change log above.

- July 18, 2008: Meeting with SMEs to review logical data requirements model.

- July 22, 2008: Finalize data requirements for Alarm 3.0 IEPD

- July 30, 2008: Mappings are distributed to the SME group and feedback is incorporated into the IEPD.

- August 4, 2008: Initial IEPD completed – in review by SME Group

- August 21, 2008: IEPD completed

- August 8, 2009: Schema target namespace changed

## Implementation Recommendations

- Rules and procedures by which alarm monitoring companies may be required either by policy or local ordinance(s) to attempt contact with someone at the alarm site prior to the delivery of an electronic alarm exchange to the PSAP will not change and the process is unaffected by this IEPD.

- Implementation sites should consider including the following performance measures to focus project goals and to measure implementation success.

  - Number of telephone calls from alarm monitoring companies to the PSAP (Is there a reduction?)

  - Overall processing  time for alarm-based calls-for-service (Is there a reduction?)

  - Number of errors in delivery and processing of alarm and calls-for-service by eliminating voice delivery and PSAP call taker CAD re-entry (Is the number decreased?)

  - Progress toward a standard for interfaces between alarm monitoring companies and PSAPs to reduce cross-agency and cross-provider data exchange development time and cost (Any measurable savings of time and cost?)

- Alarms and requests-for-service will be transmitted to PSAPs per normal procedures even when a catastrophic event (e.g. hurricane) or mass alarming event (e.g. wind or electrical storm) makes the PSAP choose to not respond.  This places the PSAPs in control of filtering requests and provides for historical information in their CAD or front-end processing engine.

- Fusion Center and/or other Department of Homeland Security information needs will be met via the CAD and or PSAP systems and processes.  These needs will likely not be met directly by creating exchanges between the alarm monitoring companies and these DHS systems.

- The Alarm Interface Exchange includes three primary message types:

  - New Alarm event

  - PSAP’s Response to a New Alarm event

  - Update messages initiated by either entity to the other that provide additional information about the alarm event

This IEPD does not include any other message type within the scope of this project.  For example, alarm operators and PSAP members cannot send each other a message unless there is an active event.  All messages that reference an active event must be formulated using the Update message type.

- Alarm monitoring companies will not take ownership of indicating high-risk or target locations since no standard criteria of what constitutes a high risk or target property currently exists.  It is believed that most PSAPs and CAD Systems will  provide such functionality and ownership.  Asking alarm monitoring companies to add this information could cause a conflict-of-interest and would likely create confusion.

- Some PSAPs may phase in functionality associated with automated alarm monitoring company exchanges into their CAD or front-end interface.  For instance, the PSAP may initially wish to review every exchange and require call-taker ‘acceptance’ before CAD downloading and then begin to support automatic acceptance for certain types of alarms over time as trust and comfort builds.  Note: the process of call-taker acceptance was bypassed at both of the Virginia pilot sites and optimized to reduce response times to the maximum degree possible.  The by-passing of the call-taker action during this pilot proved highly successful while meeting the requirements of both PSAPs.

- NENA standards will be utilized for addressing since these standards are typically utilized by PSAPs and CADS.

- General implementation guidelines and suggestions:

  - Each participating alarm monitoring company should assign a liaison to coordinate implementation both internally and externally with the PSAP and the alarm monitoring software provider.

  - Each participating PSAP should assign a liaison to coordinate implementation both internally and externally with the alarm monitoring company and the PSAP’s CAD system provider.

  - Response plans that dictate which emergency services will respond to an event and how many First Responders are business decisions of the PSAP and not within the scope of this IEPD.

  - Once an exchange has been developed end-to-end by the CAD provider and the alarm monitoring software provider and is ready for testing, it is recommended that the alarm monitoring company trigger an Address Validation request for each alarm address with the PSAP’s jurisdiction.  This will facilitate the identification of problem addresses that need to be massaged or reallocated to a different PSAP.

  - Alarm monitoring companies should implement a procedure where the address for a new alarm subscriber’s address is passed through the Address Validation process with the PSAP at the time that the alarm subscription is added to the alarm monitoring company’s database.

  - Alarm monitoring companies must implement a procedure to call the PSAP if an acknowledgement is not returned from the PSAP within “x” number of seconds. (Should we recommend what X seconds might be?  Or at least say that this decision must be made before and exchanges take place?

  - Whenever possible, alarm monitoring companies should include the latitude and longitude of the alarm site address in their alarm customer database so that the geo-coordinates are included in the electronic exchange delivery.  CAD providers should configure the CAD systems to validate an address based on the following order:

    - By street address if a street address is present

    - By geo-coordinates if geo-coordinates are present, and if no street address is present or if the street address cannot be validated

    - By intersection if two cross-streets are provided, and if no street address is present and no geo-coordinates are present.  This should be a rare situation.

  - The PSAP and the alarm monitoring company will decide on the event types that will be transmitted.  A standard list of event types are provided in this IEPD.

  - The PSAP will work with the CAD system provider to decide how each data element sent by the alarm company will be mapped to the call-for-service record.

- The following alarm or request-for-service exchange rejection reasons are recommended;

  - Closed in CAD (for supplemental exchanges)

  - Invalid Address (where address data and/or geographic coordinates do not reconcile between systems)

  - Invalid Data (exchange does not contain required field elements)

  - Incorrect Jurisdiction (customer/location not covered by receiving PSAP)

  - Unauthorized Customer - Exceeded (for situations when business rules apply where the event location has exceeded false alarms)

  - Unauthorized Customer – No Permit  (for situations when business rules apply where the jurisdiction maintains an alarm permit registry but no alarm permit can be found in the registry for the event location)

  - Diverted (where PSAP is not accepting certain alarm types, locations, etc? due to catastrophic event or other PSAP driven reason)

- Alarms triggered based on RFID data elements will require additional definition and research.  These type alarms are not considered within scope of this IEP release.

- Data elements such as Patient Name or Incarcerated Person Name may be included in free-text notes section versus having a pre-define field since RFID and Defibrillator Alarms are still evolving.

- (CRITICAL NOTE) Once the initial new alarm record is sent by the Alarm Monitoring Company, all subsequent Update transmissions to the PSAP must utilize the element name <StatusDescriptionText>.  Most PSAPs do NOT want certain fields updated automatically by an external source such as an update to the address.  Automatic updates to an address could trigger a different response plan.  Instead, this IEPD has provided a single thread for all Updates to be sent to the CAD system.  It is expected that the CAD System will add the Update to the call-for-service as an additional Comment or Note that will be seen by the radio operator.  It shall be the radio operator’s responsibility to review each Comment sent as an Update message by the Alarm Monitoring Company and process the Update accordingly.  Examples of an Update may include:

  - A Request to Cancel the Event

  - An estimated time of arrival (ETA) for the key holder

  - An individual on the premise of the alarm site who has been contacted but does not know the proper pass code

  - A change to one or more data elements originally sent as a component within the new call event

  - Other note worthies

- While Telematics data transmission is not a primary purpose of this exchange, the exchange can support some basic Telematics data.

## Supported Exchanges

### Exchange Model

The Exchange Model diagram is located in the Supporting Documentation folder (“Exchange Model.jpg”).

Figure 3 - External Alarm Process Model

Case Scenario Samples

| 1 | Exchange | Medical Alert info |
| --- | --- | --- |
|  | Examples of Triggering Events | - Allergic Reaction - Breathing Problem - Burn - Chest Pain / Heart Problem - Choking - Diabetic Problem - Fall - Seizure - Other Life Threatening Problems |
|  | Sample Scenario(s) | An elderly person living alone subscribes to an alarm monitoring service and wears a device that allows the individual to trigger a signal to the alarm company when experiencing a life-threatening medical problem. The individual begins to experience chest pains (or encounters any one of the triggering events listed above) and activates the device. The alarm monitoring company receives a notification signal that a Medical Alarm has been activated. The software application and the associated database utilized by the alarm monitoring company indicates the proper 911 PSAP responsible for the dispatch of First Responder personnel to the premise address associated to the alarm. The alarm company operator initiates the electronic transmission of Medical Alert information to the correct 911 PSAP. Data transmitted to the 911 PSAP includes the alarm company’s event number, address of the alarm subscriber, the type of alarm, detailed information about the premise, and detailed information about the individual that will assist First Responders in locating the premise and be familiar with the patient’s history before their arrival. Upon receipt of this data, the 911 PSAP’s Computer-Aided Dispatch (CAD) System validates the address within the PSAP’s jurisdiction and creates a Call-for-Service. First Responders are immediately dispatched to the premise. Sensitive information about the individual typically will be sent to the First Responders’ mobile data computer (MDC). The CAD System transmits an electronic acknowledgement to the alarm company that references the alarm company’s event number and includes the PSAP’s event number(s) and an indication that the Call-for-Service has been sent to the dispatch queue to be dispatched to Emergency First Responders. Additional information relating to the event may be originated by the alarm company or the PSAP and transmitted to the other entity electronically. |
|  | Sample Business Rule(s) | - Depending on governing laws of the jurisdiction affected, the alarm company may attempt to reach someone at the premise before initiating the electronic exchange. - If an address cannot be validated and Latitude/Longitude coordinates are present in the data exchange, the CAD System will attempt to validate using geo-coordinates. - If the address and geo-coordinates (if present) cannot be validated, an electronic Rejection message will be returned by the PSAP to the alarm company. The alarm company operator is expected to take action according to alarm company procedures. - First Responders dispatched may include EMS plus a combination of Fire and/or Law Enforcement depending on local PSAP agency procedures, - Sensitive information about the individual typically may be sent to the First Responders’ mobile data computer (MDC). |

| 2 | Exchange | Fire Alarm info |
| --- | --- | --- |
|  | Examples of Triggering Events | - Smoke / Heat Detector - Manual Pull Station - Sprinkler/Waterflow Detector |
|  | Sample Scenario(s) | A fire begins inside a structure and is spotted by an individual. The individual pulls the manual pull station to summon the fire department and sound an alarm for others to evacuate. A signal is transmitted to the alarm company. A fire begins inside a structure and causes the sprinkler system to activate. A sprinkler/waterflow activation signal is transmitted to the alarm company. A fire begins inside a structure and is sensed by a smoke or heat detector. A signal is transmitted to the alarm company. An alarm monitoring service receives a signal that a Fire Alarm has been activated via one of the trigger examples above. The software application and the associated database utilized by the alarm monitoring company indicates the proper 911 PSAP responsible for the dispatch of First Responder personnel to the premise address associated to the alarm. The alarm company operator initiates the electronic transmission of Fire Alarm information to the correct 911 PSAP. Data transmitted to the 911 PSAP includes the alarm company’s event number, address of the alarm subscriber, the type of alarm including the triggering method, and detailed information about the premise including commercial versus residential, detailed directions, hazardous materials stored at the facility, etc, that will assist First Responders in locating the premise and be familiar with any dangers that could be presented to the First Responders upon their arrival. Upon receipt of this data, the 911 PSAP’s Computer-Aided Dispatch (CAD) System validates the address within the PSAP’s jurisdiction and creates a Call-for-Service. First Responders are immediately dispatched to the premise. The CAD System transmits an electronic acknowledgement to the alarm company that references the alarm company’s event number and includes the PSAP’s event number(s) and an indication that the Call-for-Service has been sent to the dispatch queue to be dispatched to Emergency First Responders. Additional information relating to the event may be originated by the alarm company or the PSAP and transmitted to the other entity electronically. A notification from CAD to Traffic web sites and Intelligent Transportation Systems could be sent when the amount of responding fire apparatus is significant and traffic in the area of the emergency could be affected. |
|  | Sample Business Rule(s) | - Depending on governing laws of the jurisdiction affected, the alarm company may attempt to reach someone at the premise if the premise type is RESIDENTIAL before initiating the electronic exchange. - If an address cannot be validated and Latitude/Longitude coordinates are present in the data exchange, the CAD System will attempt to validate using geo-coordinates. - If the address and geo-coordinates (if present) cannot be validated, an electronic Rejection message will be returned by the PSAP to the alarm company. The alarm company operator is expected to take action according to alarm company procedures. - First Responders dispatched may include Fire plus a combination of EMS and/or Law Enforcement depending on local PSAP agency procedures, Law enforcement could be typically dispatched for traffic and crowd control purposes. |

| 3 | Exchange | Gas Detector Alarm info |
| --- | --- | --- |
|  | Examples of Triggering Events | - Natural Gas Detector - Carbon Monoxide Detector |
|  | Sample Scenario(s) | A natural gas pipe breaks inside of a structure and triggers a natural gas detector alarm signal. The vent on a furnace becomes clogged, causes carbon monoxide to build up inside of a structure, and subsequently triggers a carbon monoxide alarm signal. An alarm monitoring service receives a signal that a Gas Detector Alarm has been activated via one of the trigger examples above. The software application and the associated database utilized by the alarm monitoring company indicates the proper 911 PSAP responsible for the dispatch of First Responder personnel to the premise address associated to the alarm. The alarm company operator initiates the electronic transmission of Gas Detector Alarm information to the correct 911 PSAP. Data transmitted to the 911 PSAP includes the alarm company’s event number, address of the alarm subscriber, the type of alarm including the triggering method, and detailed information about the premise including commercial versus residential, detailed directions, hazardous materials stored at the facility, etc., that will assist First Responders in locating the premise and be familiar with any dangers that could be presented to the First Responders upon their arrival. Upon receipt of this data, the 911 PSAP’s Computer-Aided Dispatch (CAD) System validates the address within the PSAP’s jurisdiction and creates a Call-for-Service. First Responders are immediately dispatched to the premise. The CAD System transmits an electronic acknowledgement to the alarm company that references the alarm company’s event number and includes the PSAP’s event number(s) and an indication that the Call-for-Service has been sent to the dispatch queue to be dispatched to Emergency First Responders. Additional information relating to the event may be originated by the alarm company or the PSAP and transmitted to the other entity electronically. A notification from CAD to Traffic web sites and Intelligent Transportation Systems could be sent when the amount of responding fire apparatus is significant and traffic in the area of the emergency could be affected. |
|  | Sample Business Rule(s) | - Depending on governing laws of the jurisdiction affected, the alarm company may attempt to reach someone at the premise before initiating the electronic exchange. - If an address cannot be validated and Latitude/Longitude coordinates are present in the data exchange, the CAD System will attempt to validate using geo-coordinates. - If the address and geo-coordinates (if present) cannot be validated, an electronic Rejection message will be returned by the PSAP to the alarm company. The alarm company operator is expected to take action according to alarm company procedures. - First Responders dispatched may include Fire plus a combination of EMS and/or Law Enforcement depending on local PSAP agency procedures, Law enforcement could be typically dispatched for traffic and crowd control purposes. |

| 4 | Exchange | Burglar Alarm info |
| --- | --- | --- |
|  | Examples of Triggering Events | - Burglar Alarm - Tamper Alarm (Someone tampering with equipment) - Restore Signal (Alarm Restored but no prior alarm received) - Phone Line Failure (Someone has possibly cut phone line) - Open / Close Signal (Someone disarming system without permission) - Reset / Cancel (Someone disarming system without permission) |
|  | Sample Scenario(s) | A residence is broken into and the suspect’s movement is detected by a motion detector. Someone is attempting to disable the premise alarm equipment. The alarm company receives an alarm restore message but no prior alarm was received. Someone attempts to cut the telephone line. Someone attempts to disarm the alarm system without the proper security code. An alarm monitoring service receives a signal that an alarm has been activated via one of the trigger examples above. The software application and the associated database utilized by the alarm monitoring company indicates the proper 911 PSAP responsible for the dispatch of Law Enforcement First Responder personnel to the premise address associated to the alarm. The alarm company operator initiates the electronic transmission of Burglar Alarm information to the correct 911 PSAP. Data transmitted to the 911 PSAP includes the alarm company’s event number, address of the alarm subscriber, the type of alarm including the triggering method (motion detector, glass breakage, etc) and specific location of the triggering device (rear door, front hall, etc), and detailed information about the premise including commercial versus residential, detailed directions, hazardous materials stored at the facility, etc, that will assist Law Enforcement First Responders in locating the premise and be familiar with any dangers that could be presented to the First Responders upon their arrival. Upon receipt of this data, the 911 PSAP’s Computer-Aided Dispatch (CAD) System validates the address within the PSAP’s jurisdiction and creates a Call-for-Service. Law Enforcement First Responders are immediately dispatched to the premise. The CAD System transmits an electronic acknowledgement to the alarm company that references the alarm company’s event number and includes the PSAP’s event number(s) and an indication that the Call-for-Service has been sent to the dispatch queue to be dispatched to Law Enforcement First Responders. Additional information relating to the event may be originated by the alarm company or the PSAP and transmitted to the other entity electronically. Additional information may consist of a cancellation request from the alarm company, information about the key-holder from the alarm company, status changes by responding Law Enforcement officers, and situation found information as denoted by the Law Enforcement Officer(s) on scene. |
|  | Sample Business Rule(s) | - Depending on governing laws of the jurisdiction affected, the alarm company may attempt to reach someone at the premise before initiating the electronic exchange. - If an address cannot be validated and Latitude/Longitude coordinates are present in the data exchange, the CAD System will attempt to validate using geo-coordinates. - If the address and geo-coordinates (if present) cannot be validated, an electronic Rejection message will be returned by the PSAP to the alarm company. The alarm company operator is expected to take action according to alarm company procedures. |

| 5 | Exchange | Hold-up/Panic/Duress Alarm (Robbery in progress) info |
| --- | --- | --- |
|  | Examples of Triggering Events | - Hold-up Alarm - Panic / Duress Alarm |
|  | Sample Scenario(s) | A jewelry store is being robbed and a store employee manages to trigger a push button signaling device to initiate a Hold-up alarm. A home invasion occurs and the homeowner manages to trigger a signaling device to initiate a Panic / Duress alarm. An alarm monitoring service receives a signal that an alarm has been activated via one of the trigger examples above. The software application and the associated database utilized by the alarm monitoring company indicates the proper 911 PSAP responsible for the dispatch of Law Enforcement First Responder personnel to the premise address associated to the alarm. The alarm company operator initiates the electronic transmission of alarm information to the correct 911 PSAP. Data transmitted to the 911 PSAP includes the alarm company’s event number, address of the alarm subscriber, the type of alarm, and detailed information about the premise including commercial versus residential, detailed directions, hazardous materials stored at the facility, etc, that will assist Law Enforcement First Responders in locating the premise and be familiar with any dangers that could be presented to the First Responders upon their arrival. Upon receipt of this data, the 911 PSAP’s Computer-Aided Dispatch (CAD) System validates the address within the PSAP’s jurisdiction and creates a Call-for-Service. Law Enforcement First Responders are immediately dispatched to the premise. The CAD System transmits an electronic acknowledgement to the alarm company that references the alarm company’s event number and includes the PSAP’s event number(s) and an indication that the Call-for-Service has been sent to the dispatch queue to be dispatched to Law Enforcement First Responders. Additional information relating to the event may be originated by the alarm company or the PSAP and transmitted to the other entity electronically. Additional information may consist of a cancellation request from the alarm company, additional details concerning the event from the alarm company, status changes by responding Law Enforcement officers, and situation found information as denoted by the Law Enforcement Officer(s) on scene. |
|  | Sample Business Rule(s) | - Depending on governing laws of the jurisdiction affected, the alarm company may attempt to reach someone at the premise before initiating the electronic exchange. - If an address cannot be validated and Latitude/Longitude coordinates are present in the data exchange, the CAD System will attempt to validate using geo-coordinates. - If the address and geo-coordinates (if present) cannot be validated, an electronic Rejection message will be returned by the PSAP to the alarm company. The alarm company operator is expected to take action according to alarm company procedures. - PSAPs generally will treat an alarm notification as a “Hold-up” Alarm if the premise type is Commercial. Otherwise the event type is generally treated as a “Panic / Duress” alarm when the premise type is residential. |

### Exchange Detail

| ID | Exchange Description | Representative Instance |
| --- | --- | --- |
| 1 | The Alarm Monitoring Company receives an alarm notification and may attempt to make contact with someone at the alarm site if required (depending on alarm type, local laws, business process rules, etc). If the Alarm Monitoring Company operator determines that the PSAP must be notified, the operator will initiate an External Alarm Interface Exchange to the Public Safety Answering Point (PSAP). Upon receipt of the new alarm transaction, the PSAP’s middleware application responds to the transaction with an “ACK” character at the IP level and then passes the new alarm data to the CAD System. If the message is truncated or mal-formed, the middleware application returns a “NACK” character to the alarm service. | /schema/xml/scenario1_new_alarm.xml |
| 2 | Upon receipt of new alarm data by the PSAP, the PSAP’s CAD system takes ownership of the data and is responsible for the attempt to process the new alarm data as a call-for-service. The CAD will attempt to validate the address provided and ensure that mandatory elements have been provided. If this process is successful and the criteria to generate a call-for-service has been met, the CAD will assemble a call-for-service record and then generate an “Accept” response to be passed back to the Alarm Monitoring Company. The operator who triggered the alarm exchange to the PSAP receives the “Accept” response from the PSAP within seconds of the original transmission and is aware that a call-for-service has been placed in the pending call queue for dispatch to Public Safety personnel. The middleware application at the PSAP that sends this “Accept” message to the alarm service expects nothing in return. | /schema/xml/scenario2_accepted.xml |
| 3 | Upon receipt of new alarm data by the PSAP, the PSAP’s CAD system takes ownership of the data and is responsible for the attempt to process the new alarm data as a call-for-service. The CAD will attempt to validate the address provided and ensure that mandatory elements have been provided. If this process is not successful and/or the criteria to generate a call-for-service has not been met, the CAD will generate a “Reject” response to be passed back to the Alarm Monitoring Company. CAD Systems may also be programmed to “Reject” all new alarm events when the PSAP is overwhelmed such as a hurricane situation and is refusing all alarm event requests. The operator who triggered the alarm exchange to the PSAP receives the “Reject” response from the PSAP within seconds of the original transmission and is aware that the requested call-for-service has been rejected by the PSAP and the reason why. The operator will invoke backup procedures, identify the reason for the rejection, and take appropriate action by calling the PSAP via telephone. The middleware application at the PSAP that sends this “Reject” message to the alarm service expects nothing in return. | /schema/xml/scenario3_rejected.xml |
| 4 | As various statuses change during the event at the PSAP level, the CAD System may send an Update transaction to the Alarm Monitoring Company. Examples that can trigger an Update message at the PSAP level may optionally include: (1) the Dispatch of First Responders to the alarm site, (2) Arrival of First Responders at the alarm site, (3) Clearing of First Responders from the alarm event including a disposition (if any), and (4) any notes added by the radio operator or field personnel during the course of the event. The middleware application at the PSAP that sends this “Update” message to the alarm service expects nothing in return. | /schema/xml/scenario4_update_from_psap.xml |
| 5 | After the initial new alarm event has been triggered by the Alarm Monitoring Company and Accepted by the PSAP, the Alarm Monitoring Company may encounter additional information related to the event that must be shared with the PSAP. The Alarm Monitoring Company operator can send additional information to the PSAP in the form of an Update message. Examples of an Update may include: (1) a Request to Cancel the Event, (2) an estimated time of arrival (ETA) for the key holder, (3) an individual on the premise of the alarm site who has been contacted but does not know the proper pass code, (4) a change to one or more data elements originally sent as a component within the new call event, and (5) other note worthies. Note: All Updates including changes to one or more data elements must utilize the element name <StatusDescriptionText> as demonstrated in the example scenario instance to hold the Updated information. Most PSAPs do NOT want certain fields updated automatically by an external source such as an update to the address. Automatic updates to an address could trigger a different response plan. Instead, this IEPD has provided a single thread for all Updates to be sent to the CAD system. It is expected that the CAD System will add the Update to the call-for-service as an additional Comment or Note that will be seen by the radio operator. It shall be the radio operator’s responsibility to review each Comment sent as an Update message by the Alarm Monitoring Company and process the Update accordingly. Upon receipt of the Update message from the Alarm Monitoring Company, the PSAP’s middleware application responds to the transaction with an “ACK” character at the IP level and then passes the Update message to the CAD System. If the message is truncated or mal-formed, the middleware application returns a “NACK” character to the alarm service. The CAD System must assemble an Update Response message using the same format as the Update message but with an indicator in the Status field of “UPD Accept” or “UPD Reject” to indicate that the CAD has either Accepted or Rejected the Update. The middleware application at the PSAP that sends this “Update Response” message to the alarm service expects nothing in return. | /schema/xml/scenario5_update_from_alarm.xml |
| 6 | For future implementation consideration, Building Sensor alerts sent via a CAP message can be accommodated with this IEPD. | /schema/xml/scenario1_new_alarm.xml |

## XML Validation

The image below is a screen print indicating that XML Spy 2007 was used to ensure that the IEPD met XML validation requirements.

Figure 4 - Validation Screen Image

# Glossary

APCO	Association of Public Safety Communications Officials International

BJA	Bureau of Justice Assistance

CAD	Computer-Aided Dispatch

CMT	Component Mapping Spreadsheet

CSAA	Central Station Alarm Association

DMZ	a demilitarized zone (DMZ), based on military usage of the term but more appropriately known as a demarcation zone or perimeter network, is a physical or logical sub-network that contains and exposes an organization's external services to a larger, untrusted network, usually the Internet. The purpose of a DMZ is to add an additional layer of security to an organization's Local Area Network (LAN); an external attacker only has access to equipment in the DMZ, rather than the whole of the network

DOJ	Department Of Justice

EMS	Emergency Medical Services

ETA	Estimated Time of Arrival

GJXDM	Global Justice Xml Data Model

IEPD	Information Exchange Package Documentation

IJIS	IJIS Institute

MDC	Mobile Data Computer

NENA	National Emergency Number Association

NIEM	National Information Exchange Model

NLETS	International Justice and Public Safety Network

PSAP	Public Safety Answering Point

PSDI	Public Safety Data Interoperability project

RFID	Radio Frequency IDentification

SME	Subject Matter Expert

XML	eXtensible Markup Language

XSL	Extensible Stylesheet Language (a technical artifact within the IEPD)